**Christo Riser Doors - NBS Specification**

The product information below is from the NBS Plus library of product clauses offered in NBS specification products. It has been created by NBS for Access Panel Company Ltd. Each product clause is authored in NBS format and is intended for inclusion in project specifications.

**Manufacturer**  
Name: The Access Panel Company Ltd  
Web: www.accesspanels.co.uk  
Tel: +44 (0)1724 853090  
Product reference: Christo Riser Door

**Size**  
[ \_\_\_\_\_\_ ]

**Door Arrangement**  
[Single]   
[Double]  
[Triple]  
[Quadruple]

**Fire Rating**  
[60 minutes]   
[120 minutes]

**Acoustic Rating  
[44dB]  
[47dB]**  
[ \_\_\_\_\_\_ ]

**Frame Type**  
[Raised Picture Frame (RPF)]   
[Simulated Beaded Frame (SBF)]

**Locking**  
[5 Point Locking System With Euro Cylinder & SLIK+ Concealment]   
[5 Point Locking System With Euro Cylinder]

Air Leakage  
[Smoke Sealed]