**Christo Riser Doors - NBS Specification**

The product information below is from the NBS Plus library of product clauses offered in NBS specification products. It has been created by NBS for Access Panel Company Ltd. Each product clause is authored in NBS format and is intended for inclusion in project specifications.

**Manufacturer**
Name: The Access Panel Company Ltd
Web: www.accesspanels.co.uk
Tel: +44 (0)1724 853090
Product reference: Christo Riser Door

**Size**
[ \_\_\_\_\_\_ ]

**Door Arrangement**
[Single]
[Double]
[Triple]
[Quadruple]

**Fire Rating**
[60 minutes]
[120 minutes]

**Acoustic Rating
[44dB]
[47dB]**
[ \_\_\_\_\_\_ ]

**Frame Type**
[Raised Picture Frame (RPF)]
[Simulated Beaded Frame (SBF)]

**Locking**
[5 point locking with Euro & SLIK]

[5 point locking with SLIK only]

[5 point locking Euro & SLIK Plus]

[5 point locking with SLIK and SLIK Plus]

Air Leakage
[Smoke Sealed]